## Plate4
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-17
Time: | 11:22:05 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:22:05 PM
Temperature: 23.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.2526 | 0.2423 | 0.2395 | 0.2325 | 0.2307 | 0.1953 | 0.2467 | 0.2233 | 0.2273 | 0.2159 | 0.2238 | 0.2002
B | 0.2578 | 0.2455 | 0.2452 | 0.2333 | 0.2396 | 0.2199 | 0.2597 | 0.2477 | 0.2425 | 0.2394 | 0.241 | 0.2019
C | 0.2523 | 0.2449 | 0.2442 | 0.2372 | 0.2426 | 0.2168 | 0.2809 | 0.2535 | 0.2421 | 0.2485 | 0.2455 | 0.2101
D | 0.2561 | 0.2422 | 0.241 | 0.2494 | 0.2479 | 0.2192 | 0.2638 | 0.2545 | 0.2492 | 0.2459 | 0.2428 | 0.2229
E | 0.2531 | 0.2508 | 0.2499 | 0.2522 | 0.243 | 0.2188 | 0.2636 | 0.2553 | 0.2477 | 0.2511 | 0.253 | 0.2134
F | 0.2474 | 0.2558 | 0.2569 | 0.2548 | 0.2432 | 0.2185 | 0.2666 | 0.2482 | 0.274 | 0.2605 | 0.2467 | 0.2101
G | 0.2426 | 0.2414 | 0.246 | 0.2441 | 0.2413 | 0.2176 | 0.2629 | 0.2498 | 0.2486 | 0.2479 | 0.2509 | 0.2118
H | 0.2357 | 0.2187 | 0.2212 | 0.2195 | 0.2186 | 0.1974 | 0.2489 | 0.257 | 0.221 | 0.232 | 0.2357 | 0.1998
End Time: | 3/17/2026 11:23:23 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:23:26 PM
Temperature: 23.7 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 785 | 796 | 788 | 795 | 794 | 743 | 784 | 793 | 779 | 769 | 790 | 736
B | 789 | 801 | 806 | 796 | 785 | 736 | 778 | 799 | 792 | 784 | 791 | 716
C | 793 | 807 | 792 | 804 | 797 | 747 | 785 | 796 | 802 | 799 | 793 | 722
D | 792 | 806 | 809 | 805 | 804 | 745 | 793 | 800 | 792 | 799 | 788 | 737
E | 790 | 807 | 812 | 797 | 795 | 759 | 789 | 792 | 795 | 808 | 811 | 747
F | 782 | 811 | 802 | 809 | 800 | 752 | 806 | 786 | 788 | 795 | 793 | 745
G | 804 | 813 | 816 | 804 | 812 | 749 | 796 | 800 | 800 | 791 | 798 | 751
H | 786 | 803 | 785 | 821 | 804 | 753 | 797 | 800 | 804 | 803 | 793 | 735
End Time: | 3/17/2026 11:24:44 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:24:51 PM
Temperature: 23.8 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 162 | 164 | 165 | 162 | 165 | 152 | 163 | 163 | 163 | 160 | 163 | 151
B | 161 | 165 | 167 | 164 | 163 | 156 | 164 | 163 | 165 | 163 | 166 | 151
C | 164 | 166 | 164 | 167 | 165 | 155 | 162 | 166 | 167 | 166 | 166 | 149
D | 165 | 165 | 166 | 165 | 166 | 158 | 163 | 166 | 164 | 165 | 165 | 151
E | 164 | 169 | 167 | 166 | 167 | 155 | 167 | 166 | 167 | 165 | 165 | 153
F | 164 | 168 | 168 | 166 | 166 | 156 | 164 | 167 | 165 | 169 | 165 | 153
G | 164 | 167 | 167 | 168 | 167 | 155 | 164 | 169 | 166 | 167 | 166 | 155
H | 165 | 166 | 165 | 169 | 167 | 156 | 165 | 167 | 167 | 165 | 167 | 152
End Time: | 3/17/2026 11:26:08 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:26:15 PM
Temperature: 23.8 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 26 | 25 | 26 | 28 | 27 | 24 | 28 | 26 | 26 | 27 | 28 | 24
B | 28 | 29 | 27 | 27 | 27 | 24 | 28 | 29 | 27 | 27 | 29 | 23
C | 26 | 26 | 28 | 27 | 28 | 25 | 29 | 27 | 27 | 29 | 27 | 25
D | 26 | 27 | 27 | 29 | 29 | 24 | 29 | 28 | 27 | 26 | 28 | 24
E | 27 | 29 | 29 | 30 | 29 | 26 | 29 | 27 | 28 | 27 | 26 | 25
F | 29 | 28 | 28 | 26 | 29 | 25 | 30 | 27 | 27 | 27 | 27 | 24
G | 28 | 28 | 27 | 28 | 27 | 25 | 30 | 28 | 28 | 27 | 28 | 23
H | 28 | 26 | 27 | 28 | 29 | 26 | 29 | 28 | 27 | 27 | 27 | 24
End Time: | 3/17/2026 11:27:33 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:27:39 PM
Temperature: 23.8 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 7 | 6 | 7 | 7 | 6 | 6 | 7 | 7 | 7 | 7 | 6 | 6
B | 7 | 6 | 6 | 7 | 7 | 6 | 7 | 6 | 6 | 6 | 6 | 6
C | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 7 | 7 | 6 | 7 | 6
D | 7 | 7 | 7 | 6 | 7 | 6 | 6 | 7 | 7 | 6 | 7 | 6
E | 6 | 7 | 6 | 6 | 7 | 6 | 7 | 6 | 7 | 7 | 7 | 6
F | 7 | 6 | 6 | 7 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 6
G | 7 | 7 | 6 | 7 | 6 | 6 | 7 | 7 | 6 | 7 | 6 | 6
H | 6 | 6 | 7 | 7 | 8 | 6 | 7 | 6 | 7 | 7 | 7 | 5
End Time: | 3/17/2026 11:28:57 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate3
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-17
Time: | 11:14:39 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:14:39 PM
Temperature: 23.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.2391 | 0.2384 | 0.2351 | 0.2356 | 0.2417 | 0.2031 | 0.2527 | 0.2358 | 0.2273 | 0.2376 | 0.233 | 0.1974
B | 0.2535 | 0.2338 | 0.2356 | 0.2385 | 0.2486 | 0.2082 | 0.2542 | 0.2408 | 0.2467 | 0.2401 | 0.2345 | 0.209
C | 0.2479 | 0.2352 | 0.238 | 0.2389 | 0.2361 | 0.2077 | 0.2482 | 0.2436 | 0.2448 | 0.247 | 0.236 | 0.2049
D | 0.25 | 0.2411 | 0.2403 | 0.2478 | 0.2417 | 0.2172 | 0.2549 | 0.2443 | 0.2417 | 0.2458 | 0.2538 | 0.2099
E | 0.2537 | 0.2532 | 0.2377 | 0.2406 | 0.242 | 0.2122 | 0.2598 | 0.2442 | 0.247 | 0.24 | 0.2472 | 0.2103
F | 0.2484 | 0.2437 | 0.2454 | 0.2464 | 0.2444 | 0.2193 | 0.2579 | 0.2429 | 0.2472 | 0.2426 | 0.2454 | 0.2102
G | 0.245 | 0.2589 | 0.2382 | 0.2465 | 0.2398 | 0.2096 | 0.2557 | 0.2428 | 0.2338 | 0.2481 | 0.2392 | 0.1955
H | 0.2353 | 0.2357 | 0.2253 | 0.2358 | 0.238 | 0.2051 | 0.2581 | 0.2391 | 0.2421 | 0.2416 | 0.2359 | 0.1933
End Time: | 3/17/2026 11:15:57 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:16:00 PM
Temperature: 23.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 764 | 782 | 782 | 794 | 792 | 721 | 784 | 786 | 778 | 776 | 774 | 726
B | 773 | 771 | 791 | 791 | 793 | 741 | 776 | 796 | 787 | 795 | 798 | 739
C | 771 | 788 | 784 | 790 | 789 | 734 | 789 | 795 | 794 | 792 | 791 | 728
D | 789 | 781 | 795 | 791 | 797 | 741 | 783 | 791 | 799 | 802 | 793 | 731
E | 782 | 793 | 786 | 803 | 793 | 724 | 786 | 791 | 793 | 792 | 785 | 735
F | 787 | 787 | 798 | 802 | 795 | 734 | 788 | 787 | 789 | 804 | 785 | 723
G | 791 | 801 | 799 | 797 | 808 | 733 | 787 | 801 | 796 | 800 | 794 | 720
H | 780 | 785 | 794 | 806 | 795 | 737 | 780 | 814 | 801 | 803 | 789 | 730
End Time: | 3/17/2026 11:17:18 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:17:25 PM
Temperature: 23.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 159 | 161 | 160 | 161 | 162 | 150 | 160 | 163 | 161 | 162 | 162 | 149
B | 160 | 161 | 163 | 165 | 162 | 153 | 163 | 161 | 162 | 161 | 162 | 150
C | 160 | 162 | 162 | 160 | 162 | 153 | 164 | 163 | 163 | 166 | 165 | 146
D | 158 | 162 | 163 | 163 | 163 | 151 | 161 | 163 | 165 | 162 | 164 | 152
E | 161 | 165 | 162 | 164 | 165 | 152 | 163 | 164 | 164 | 163 | 164 | 150
F | 161 | 167 | 162 | 162 | 164 | 150 | 163 | 161 | 165 | 166 | 164 | 150
G | 161 | 164 | 164 | 163 | 166 | 150 | 162 | 162 | 166 | 165 | 166 | 148
H | 161 | 163 | 163 | 166 | 165 | 154 | 161 | 164 | 166 | 165 | 163 | 149
End Time: | 3/17/2026 11:18:43 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:18:49 PM
Temperature: 23.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 27 | 29 | 29 | 27 | 29 | 23 | 28 | 28 | 27 | 25 | 27 | 22
B | 30 | 26 | 27 | 28 | 29 | 24 | 26 | 27 | 27 | 29 | 27 | 24
C | 25 | 26 | 26 | 26 | 29 | 22 | 27 | 27 | 27 | 27 | 26 | 24
D | 27 | 25 | 27 | 29 | 26 | 23 | 27 | 27 | 29 | 27 | 27 | 23
E | 29 | 27 | 28 | 27 | 29 | 25 | 28 | 28 | 27 | 28 | 26 | 23
F | 26 | 28 | 29 | 27 | 27 | 24 | 27 | 26 | 28 | 28 | 26 | 24
G | 27 | 28 | 28 | 27 | 25 | 23 | 28 | 27 | 27 | 26 | 28 | 23
H | 28 | 26 | 25 | 26 | 25 | 24 | 29 | 27 | 25 | 25 | 26 | 24
End Time: | 3/17/2026 11:20:07 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:20:13 PM
Temperature: 23.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
B | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 6 | 6 | 7 | 7 | 5
C | 6 | 6 | 7 | 7 | 6 | 6 | 7 | 7 | 6 | 6 | 6 | 6
D | 6 | 6 | 6 | 6 | 7 | 5 | 6 | 6 | 7 | 6 | 7 | 5
E | 6 | 6 | 6 | 6 | 7 | 6 | 7 | 7 | 6 | 6 | 7 | 6
F | 6 | 6 | 7 | 7 | 6 | 5 | 7 | 6 | 7 | 6 | 6 | 5
G | 7 | 7 | 6 | 6 | 6 | 5 | 6 | 7 | 7 | 6 | 6 | 5
H | 6 | 6 | 7 | 7 | 7 | 5 | 6 | 6 | 6 | 6 | 6 | 6
End Time: | 3/17/2026 11:21:31 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-17
Time: | 11:06:58 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:06:58 PM
Temperature: 23.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.2187 | 0.2437 | 0.2284 | 0.2336 | 0.2334 | 0.2039 | 0.2343 | 0.2324 | 0.2298 | 0.2333 | 0.2276 | 0.2013
B | 0.2271 | 0.2294 | 0.2386 | 0.2441 | 0.2454 | 0.2051 | 0.2345 | 0.2342 | 0.2366 | 0.246 | 0.2334 | 0.2025
C | 0.2306 | 0.2317 | 0.2443 | 0.2353 | 0.233 | 0.2124 | 0.2452 | 0.2393 | 0.2385 | 0.2421 | 0.2386 | 0.2077
D | 0.2375 | 0.2348 | 0.2403 | 0.2396 | 0.2351 | 0.2134 | 0.2395 | 0.2487 | 0.243 | 0.2379 | 0.242 | 0.2085
E | 0.2257 | 0.2373 | 0.241 | 0.2362 | 0.238 | 0.2106 | 0.2397 | 0.2501 | 0.2475 | 0.2451 | 0.2434 | 0.2048
F | 0.228 | 0.2369 | 0.2406 | 0.2393 | 0.2392 | 0.2162 | 0.2349 | 0.2454 | 0.2408 | 0.2449 | 0.2458 | 0.2136
G | 0.2958 | 0.6731 | 0.2588 | 0.4206 | 0.478 | 0.2186 | 0.25 | 0.2425 | 0.2729 | 0.2526 | 0.2495 | 0.4577
H | 0.4084 | 0.2481 | 0.3577 | 0.2631 | 0.2622 | 0.242 | 0.2593 | 0.3132 | 0.2642 | 0.392 | 0.2592 | 0.1982
End Time: | 3/17/2026 11:08:16 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:08:19 PM
Temperature: 23.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 734 | 774 | 761 | 771 | 773 | 731 | 769 | 774 | 765 | 780 | 767 | 695
B | 756 | 774 | 788 | 794 | 779 | 736 | 763 | 775 | 773 | 776 | 775 | 717
C | 750 | 766 | 776 | 779 | 790 | 740 | 784 | 788 | 782 | 784 | 779 | 715
D | 744 | 778 | 785 | 783 | 776 | 747 | 777 | 782 | 786 | 796 | 781 | 740
E | 764 | 782 | 786 | 781 | 792 | 743 | 780 | 784 | 784 | 777 | 778 | 710
F | 771 | 781 | 791 | 786 | 785 | 749 | 780 | 779 | 774 | 784 | 776 | 727
G | 672 | 264 | 752 | 484 | 410 | 741 | 769 | 777 | 741 | 784 | 778 | 358
H | 478 | 775 | 588 | 789 | 782 | 726 | 767 | 644 | 779 | 540 | 776 | 716
End Time: | 3/17/2026 11:09:37 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:09:44 PM
Temperature: 23.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 154 | 159 | 156 | 160 | 158 | 148 | 157 | 160 | 159 | 159 | 157 | 145
B | 156 | 159 | 164 | 161 | 161 | 151 | 158 | 160 | 158 | 160 | 158 | 148
C | 159 | 160 | 160 | 166 | 160 | 152 | 160 | 164 | 164 | 161 | 163 | 151
D | 155 | 162 | 165 | 163 | 161 | 154 | 164 | 163 | 162 | 160 | 162 | 153
E | 158 | 162 | 166 | 162 | 161 | 153 | 164 | 159 | 159 | 162 | 160 | 148
F | 156 | 161 | 163 | 161 | 162 | 156 | 161 | 161 | 161 | 164 | 161 | 150
G | 138 | 56 | 158 | 103 | 85 | 155 | 159 | 161 | 152 | 163 | 161 | 76
H | 101 | 162 | 123 | 162 | 162 | 150 | 157 | 136 | 159 | 111 | 163 | 149
End Time: | 3/17/2026 11:11:02 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:11:08 PM
Temperature: 23.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 24 | 28 | 25 | 27 | 26 | 24 | 27 | 26 | 28 | 27 | 26 | 22
B | 25 | 26 | 27 | 28 | 28 | 24 | 28 | 29 | 26 | 27 | 28 | 24
C | 27 | 25 | 26 | 30 | 28 | 23 | 27 | 26 | 28 | 27 | 28 | 24
D | 35 | 26 | 25 | 27 | 29 | 23 | 29 | 29 | 27 | 28 | 27 | 25
E | 26 | 26 | 27 | 26 | 27 | 24 | 27 | 28 | 26 | 28 | 27 | 22
F | 24 | 26 | 27 | 27 | 27 | 25 | 28 | 26 | 27 | 28 | 25 | 24
G | 22 | 12 | 26 | 19 | 15 | 25 | 28 | 27 | 25 | 27 | 26 | 14
H | 17 | 25 | 21 | 25 | 27 | 24 | 25 | 23 | 25 | 20 | 28 | 25
End Time: | 3/17/2026 11:12:26 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:12:32 PM
Temperature: 23.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 6 | 6 | 6 | 7 | 6 | 7 | 7 | 6 | 7 | 7 | 7 | 5
B | 7 | 7 | 7 | 6 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 5
C | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 7 | 7 | 7 | 6 | 5
D | 9 | 7 | 7 | 6 | 7 | 6 | 6 | 6 | 7 | 7 | 7 | 7
E | 7 | 7 | 7 | 7 | 7 | 6 | 6 | 7 | 6 | 7 | 7 | 7
F | 6 | 7 | 7 | 8 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 6
G | 6 | 3 | 6 | 5 | 5 | 6 | 6 | 6 | 7 | 6 | 7 | 4
H | 5 | 7 | 6 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6
End Time: | 3/17/2026 11:13:50 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate1
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-17
Time: | 10:58:25 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 10:58:25 PM
Temperature: 23.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.2105 | 0.2172 | 0.2164 | 0.2166 | 0.1915 | 0.1866 | 0.2132 | 0.216 | 0.2255 | 0.2244 | 0.1906 | 0.1916
B | 0.2104 | 0.2142 | 0.2191 | 0.2217 | 0.1902 | 0.193 | 0.2187 | 0.2201 | 0.2299 | 0.2239 | 0.1928 | 0.1875
C | 0.2158 | 0.2104 | 0.2189 | 0.2207 | 0.1912 | 0.1942 | 0.2231 | 0.2231 | 0.2636 | 0.2304 | 0.1955 | 0.1922
D | 0.2166 | 0.2197 | 0.2229 | 0.2217 | 0.1959 | 0.2009 | 0.2251 | 0.2245 | 0.4113 | 0.227 | 0.1957 | 0.1933
E | 0.2194 | 0.2163 | 0.2177 | 0.2242 | 0.1963 | 0.1987 | 0.2265 | 0.2284 | 0.2875 | 0.2297 | 0.198 | 0.1903
F | 0.217 | 0.2181 | 0.2188 | 0.2201 | 0.1935 | 0.2004 | 0.2272 | 0.2307 | 0.2355 | 0.2317 | 0.1994 | 0.1906
G | 0.2156 | 0.2201 | 0.2216 | 0.221 | 0.1932 | 0.1998 | 0.2312 | 0.2302 | 0.2356 | 0.2317 | 0.1951 | 0.194
H | 0.2142 | 0.2173 | 0.215 | 0.2196 | 0.1937 | 0.1899 | 0.2168 | 0.2152 | 0.2287 | 0.2272 | 0.1973 | 0.1898
End Time: | 3/17/2026 10:59:43 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 10:59:46 PM
Temperature: 23.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 748 | 746 | 756 | 768 | 693 | 687 | 754 | 764 | 750 | 743 | 710 | 698
B | 760 | 780 | 788 | 786 | 741 | 699 | 753 | 750 | 752 | 753 | 708 | 702
C | 774 | 763 | 788 | 787 | 723 | 736 | 780 | 775 | 722 | 762 | 734 | 734
D | 783 | 787 | 783 | 785 | 739 | 744 | 782 | 790 | 765 | 772 | 729 | 728
E | 784 | 785 | 788 | 795 | 747 | 741 | 774 | 778 | 633 | 779 | 740 | 718
F | 779 | 790 | 775 | 783 | 742 | 738 | 775 | 786 | 760 | 772 | 732 | 720
G | 788 | 789 | 799 | 779 | 747 | 749 | 785 | 791 | 777 | 772 | 735 | 722
H | 782 | 781 | 781 | 784 | 732 | 742 | 770 | 789 | 758 | 772 | 729 | 726
End Time: | 3/17/2026 11:01:04 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:01:11 PM
Temperature: 23.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 155 | 153 | 152 | 154 | 142 | 140 | 152 | 154 | 152 | 151 | 144 | 141
B | 156 | 160 | 160 | 161 | 149 | 143 | 154 | 158 | 153 | 153 | 145 | 141
C | 159 | 157 | 162 | 161 | 152 | 150 | 159 | 160 | 150 | 156 | 147 | 147
D | 159 | 161 | 163 | 162 | 150 | 152 | 160 | 162 | 156 | 160 | 150 | 149
E | 161 | 160 | 159 | 162 | 151 | 151 | 160 | 163 | 132 | 159 | 152 | 149
F | 162 | 158 | 163 | 162 | 150 | 151 | 160 | 161 | 156 | 157 | 150 | 148
G | 158 | 163 | 162 | 163 | 151 | 152 | 162 | 162 | 159 | 161 | 150 | 148
H | 159 | 160 | 161 | 161 | 154 | 151 | 159 | 161 | 156 | 159 | 151 | 148
End Time: | 3/17/2026 11:02:29 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:02:36 PM
Temperature: 23.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 26 | 25 | 27 | 26 | 23 | 21 | 25 | 24 | 25 | 28 | 23 | 23
B | 27 | 24 | 29 | 28 | 23 | 23 | 26 | 26 | 28 | 24 | 23 | 23
C | 26 | 23 | 27 | 28 | 24 | 23 | 27 | 26 | 25 | 27 | 25 | 25
D | 29 | 27 | 27 | 29 | 24 | 25 | 27 | 26 | 26 | 27 | 24 | 25
E | 26 | 27 | 28 | 28 | 24 | 24 | 28 | 27 | 23 | 29 | 24 | 24
F | 28 | 28 | 26 | 29 | 24 | 24 | 25 | 28 | 27 | 28 | 24 | 22
G | 26 | 26 | 29 | 28 | 25 | 25 | 28 | 29 | 26 | 28 | 23 | 22
H | 25 | 27 | 27 | 26 | 26 | 25 | 25 | 27 | 27 | 26 | 25 | 23
End Time: | 3/17/2026 11:03:53 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/17/2026 11:04:00 PM
Temperature: 23.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 7 | 6 | 6 | 7 | 5 | 6 | 7 | 6 | 7 | 5 | 5 | 6
B | 7 | 6 | 7 | 7 | 6 | 6 | 7 | 7 | 7 | 6 | 6 | 6
C | 7 | 7 | 7 | 7 | 6 | 6 | 7 | 7 | 6 | 6 | 6 | 6
D | 7 | 7 | 7 | 7 | 6 | 6 | 6 | 6 | 7 | 7 | 6 | 6
E | 7 | 7 | 6 | 7 | 6 | 6 | 7 | 7 | 6 | 7 | 6 | 6
F | 7 | 6 | 7 | 7 | 5 | 7 | 7 | 7 | 7 | 6 | 6 | 6
G | 7 | 7 | 6 | 7 | 6 | 6 | 7 | 6 | 7 | 7 | 6 | 6
H | 7 | 6 | 6 | 7 | 7 | 7 | 6 | 6 | 7 | 7 | 6 | 6
End Time: | 3/17/2026 11:05:17 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)