## Plate4
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 1:53:46 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:53:46 PM
Temperature: 24.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.6047 | 0.4144 | 0.3085 | 0.2451 | 0.2366 | 0.21 | 0.6182 | 0.3985 | 0.3127 | 0.2295 | 0.2433 | 0.2135
B | 0.6238 | 0.4262 | 0.3061 | 0.2388 | 0.2359 | 0.2224 | 0.6177 | 0.3917 | 0.2895 | 0.2421 | 0.2421 | 0.2036
C | 0.6437 | 0.4524 | 0.3134 | 0.2438 | 0.2382 | 0.2051 | 0.7021 | 0.4099 | 0.3149 | 0.2515 | 0.2448 | 0.208
D | 0.608 | 0.4124 | 0.309 | 0.2491 | 0.2437 | 0.2127 | 0.5988 | 0.4045 | 0.3217 | 0.2522 | 0.2422 | 0.215
E | 0.624 | 0.4232 | 0.3166 | 0.2472 | 0.2378 | 0.2075 | 0.5958 | 0.4053 | 0.3124 | 0.2527 | 0.2457 | 0.2051
F | 0.6453 | 0.409 | 0.33 | 0.2494 | 0.2384 | 0.2056 | 0.5743 | 0.4125 | 0.3152 | 0.2607 | 0.2414 | 0.2066
G | 0.6 | 0.4403 | 0.3071 | 0.2571 | 0.243 | 0.2095 | 0.5677 | 0.4119 | 0.3083 | 0.2463 | 0.2418 | 0.2114
H | 0.5834 | 0.411 | 0.3227 | 0.26 | 0.2439 | 0.2123 | 0.5887 | 0.4 | 0.2979 | 0.2438 | 0.2371 | 0.2049
End Time: | 3/18/2026 1:55:04 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:55:07 PM
Temperature: 24.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 723 | 716 | 772 | 825 | 822 | 766 | 732 | 712 | 776 | 795 | 821 | 754
B | 736 | 736 | 793 | 838 | 838 | 776 | 758 | 737 | 790 | 803 | 816 | 750
C | 717 | 736 | 804 | 837 | 837 | 789 | 775 | 741 | 775 | 826 | 814 | 764
D | 744 | 750 | 808 | 836 | 847 | 789 | 779 | 752 | 777 | 815 | 836 | 769
E | 741 | 750 | 803 | 849 | 840 | 793 | 785 | 760 | 791 | 822 | 837 | 771
F | 739 | 762 | 801 | 852 | 841 | 796 | 776 | 749 | 800 | 833 | 832 | 765
G | 756 | 744 | 804 | 842 | 842 | 799 | 753 | 766 | 793 | 829 | 844 | 773
H | 737 | 751 | 799 | 833 | 857 | 800 | 770 | 749 | 793 | 834 | 856 | 784
End Time: | 3/18/2026 1:56:25 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:56:32 PM
Temperature: 24.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 145 | 149 | 158 | 169 | 172 | 161 | 150 | 148 | 162 | 159 | 170 | 154
B | 151 | 151 | 165 | 170 | 172 | 163 | 157 | 151 | 162 | 170 | 169 | 156
C | 150 | 148 | 164 | 174 | 173 | 161 | 159 | 151 | 162 | 171 | 171 | 159
D | 153 | 153 | 165 | 173 | 174 | 163 | 159 | 157 | 159 | 169 | 171 | 159
E | 151 | 156 | 167 | 171 | 172 | 164 | 162 | 156 | 161 | 172 | 175 | 159
F | 150 | 157 | 164 | 177 | 174 | 165 | 160 | 154 | 169 | 173 | 173 | 161
G | 155 | 155 | 166 | 173 | 173 | 166 | 157 | 158 | 164 | 171 | 176 | 160
H | 153 | 154 | 167 | 173 | 177 | 163 | 158 | 155 | 167 | 174 | 174 | 162
End Time: | 3/18/2026 1:57:50 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:57:56 PM
Temperature: 24.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 22 | 22 | 25 | 27 | 27 | 22 | 24 | 23 | 26 | 25 | 25 | 22
B | 23 | 24 | 25 | 27 | 27 | 24 | 24 | 25 | 24 | 26 | 26 | 23
C | 23 | 24 | 26 | 27 | 27 | 26 | 23 | 24 | 26 | 25 | 32 | 24
D | 21 | 22 | 26 | 26 | 27 | 23 | 25 | 23 | 24 | 25 | 28 | 24
E | 24 | 23 | 27 | 26 | 26 | 25 | 25 | 27 | 25 | 27 | 26 | 24
F | 23 | 24 | 26 | 26 | 26 | 25 | 23 | 25 | 25 | 25 | 25 | 24
G | 26 | 24 | 25 | 25 | 27 | 21 | 24 | 24 | 25 | 26 | 25 | 24
H | 22 | 23 | 25 | 25 | 26 | 24 | 24 | 23 | 26 | 26 | 25 | 22
End Time: | 3/18/2026 1:59:14 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:59:20 PM
Temperature: 24.7 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 6 | 6 | 6 | 5 | 6 | 5 | 5 | 5 | 6 | 6 | 6 | 6
B | 6 | 5 | 7 | 7 | 6 | 6 | 6 | 6 | 7 | 7 | 7 | 6
C | 6 | 6 | 7 | 7 | 6 | 6 | 6 | 7 | 6 | 6 | 8 | 6
D | 7 | 6 | 6 | 7 | 7 | 6 | 6 | 6 | 7 | 6 | 7 | 6
E | 6 | 6 | 7 | 7 | 7 | 6 | 6 | 7 | 7 | 7 | 7 | 7
F | 6 | 6 | 7 | 7 | 7 | 6 | 6 | 7 | 6 | 7 | 7 | 6
G | 6 | 6 | 7 | 7 | 6 | 6 | 6 | 6 | 7 | 6 | 6 | 6
H | 6 | 7 | 5 | 7 | 6 | 7 | 5 | 6 | 6 | 6 | 7 | 6
End Time: | 3/18/2026 2:00:38 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate3
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 1:46:23 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:46:23 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.5851 | 0.3483 | 0.2554 | 0.2229 | 0.2343 | 0.2012 | 0.5356 | 0.3679 | 0.3002 | 0.2294 | 0.2253 | 0.196
B | 0.5399 | 0.3354 | 0.2576 | 0.2288 | 0.2311 | 0.234 | 0.5621 | 0.4087 | 0.3162 | 0.2391 | 0.2309 | 0.2007
C | 0.5303 | 0.3286 | 0.2601 | 0.2385 | 0.2313 | 0.2036 | 0.5409 | 0.4128 | 0.3022 | 0.2506 | 0.2336 | 0.2055
D | 0.5184 | 0.3259 | 0.2561 | 0.2425 | 0.2319 | 0.2126 | 0.5577 | 0.4087 | 0.3083 | 0.2472 | 0.2461 | 0.2003
E | 0.5121 | 0.3192 | 0.2528 | 0.2347 | 0.2345 | 0.2049 | 0.5739 | 0.4341 | 0.3174 | 0.2438 | 0.2369 | 0.2038
F | 0.5131 | 0.3269 | 0.2602 | 0.2375 | 0.2344 | 0.213 | 0.5633 | 0.4131 | 0.3244 | 0.2398 | 0.2356 | 0.2042
G | 0.5114 | 0.3466 | 0.2655 | 0.2367 | 0.2364 | 0.2055 | 0.5784 | 0.4267 | 0.3143 | 0.2559 | 0.2347 | 0.1976
H | 0.5276 | 0.3404 | 0.2605 | 0.2357 | 0.2343 | 0.2075 | 0.5552 | 0.4054 | 0.326 | 0.2468 | 0.23 | 0.1955
End Time: | 3/18/2026 1:47:42 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:47:45 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 662 | 702 | 770 | 805 | 804 | 734 | 696 | 700 | 757 | 796 | 810 | 744
B | 667 | 721 | 773 | 811 | 815 | 726 | 722 | 685 | 756 | 797 | 811 | 761
C | 694 | 712 | 778 | 793 | 827 | 759 | 726 | 681 | 773 | 814 | 805 | 748
D | 694 | 725 | 789 | 818 | 823 | 769 | 720 | 697 | 771 | 818 | 800 | 767
E | 682 | 733 | 791 | 819 | 824 | 767 | 732 | 693 | 759 | 817 | 830 | 753
F | 686 | 751 | 790 | 816 | 811 | 760 | 726 | 683 | 775 | 819 | 823 | 753
G | 707 | 742 | 781 | 817 | 847 | 767 | 715 | 690 | 790 | 813 | 819 | 752
H | 698 | 741 | 778 | 831 | 836 | 769 | 731 | 715 | 776 | 818 | 827 | 750
End Time: | 3/18/2026 1:49:03 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:49:09 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 136 | 147 | 158 | 164 | 166 | 153 | 144 | 143 | 158 | 165 | 167 | 155
B | 138 | 149 | 158 | 167 | 169 | 145 | 151 | 141 | 157 | 166 | 167 | 157
C | 141 | 151 | 162 | 164 | 168 | 161 | 147 | 140 | 163 | 167 | 167 | 155
D | 143 | 153 | 164 | 168 | 170 | 161 | 147 | 145 | 157 | 170 | 166 | 160
E | 141 | 156 | 164 | 171 | 171 | 158 | 150 | 145 | 158 | 168 | 170 | 157
F | 141 | 151 | 165 | 171 | 172 | 162 | 154 | 142 | 160 | 169 | 171 | 156
G | 144 | 156 | 162 | 172 | 170 | 159 | 150 | 143 | 164 | 166 | 172 | 155
H | 146 | 154 | 162 | 171 | 172 | 160 | 153 | 149 | 162 | 169 | 172 | 157
End Time: | 3/18/2026 1:50:27 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:50:34 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 22 | 25 | 26 | 26 | 32 | 25 | 24 | 24 | 27 | 28 | 27 | 25
B | 23 | 25 | 27 | 28 | 28 | 24 | 25 | 24 | 26 | 30 | 29 | 24
C | 25 | 24 | 27 | 30 | 27 | 25 | 24 | 25 | 27 | 28 | 28 | 25
D | 24 | 27 | 27 | 29 | 29 | 27 | 25 | 25 | 26 | 27 | 27 | 24
E | 25 | 26 | 29 | 29 | 30 | 25 | 26 | 25 | 26 | 28 | 28 | 24
F | 23 | 27 | 27 | 29 | 28 | 25 | 27 | 24 | 25 | 27 | 29 | 26
G | 24 | 25 | 27 | 28 | 32 | 25 | 25 | 25 | 27 | 28 | 26 | 24
H | 24 | 24 | 27 | 29 | 29 | 25 | 27 | 25 | 28 | 28 | 29 | 25
End Time: | 3/18/2026 1:51:51 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:51:58 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 5 | 5 | 6 | 5 | 7 | 6 | 6 | 4 | 6 | 7 | 6 | 5
B | 4 | 5 | 6 | 6 | 6 | 5 | 5 | 5 | 6 | 6 | 6 | 5
C | 5 | 5 | 6 | 6 | 7 | 6 | 5 | 7 | 6 | 6 | 6 | 7
D | 6 | 6 | 6 | 6 | 7 | 6 | 6 | 5 | 5 | 6 | 6 | 6
E | 5 | 6 | 7 | 7 | 6 | 6 | 5 | 4 | 6 | 7 | 6 | 5
F | 6 | 5 | 7 | 5 | 6 | 5 | 5 | 6 | 6 | 6 | 6 | 5
G | 6 | 6 | 5 | 6 | 6 | 5 | 7 | 5 | 6 | 7 | 7 | 5
H | 6 | 6 | 6 | 7 | 6 | 6 | 5 | 6 | 6 | 6 | 6 | 5
End Time: | 3/18/2026 1:53:15 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 1:38:58 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:38:58 PM
Temperature: 24 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.52 | 0.434 | 0.314 | 0.2845 | 0.2776 | 0.232 | 0.6516 | 0.4577 | 0.3072 | 0.2922 | 0.273 | 0.2188
B | 0.611 | 0.4666 | 0.3639 | 0.3425 | 0.3575 | 0.2838 | 0.6981 | 0.5131 | 0.3488 | 0.331 | 0.3238 | 0.2549
C | 0.6435 | 0.4668 | 0.3635 | 0.317 | 0.2987 | 0.2973 | 0.7194 | 0.5018 | 0.3519 | 0.3414 | 0.3395 | 0.2718
D | 0.5768 | 0.4438 | 0.3542 | 0.335 | 0.3058 | 0.2955 | 0.6961 | 0.5142 | 0.3691 | 0.3183 | 0.3188 | 0.2687
E | 0.519 | 0.4608 | 0.3665 | 0.3195 | 0.3135 | 0.2846 | 0.6933 | 0.5206 | 0.3646 | 0.3323 | 0.3431 | 0.2669
F | 0.5616 | 0.4358 | 0.3519 | 0.3262 | 0.3172 | 0.2955 | 0.6671 | 0.5053 | 0.3626 | 0.3443 | 0.3307 | 0.273
G | 0.5699 | 0.8711 | 0.3883 | 0.5405 | 0.5866 | 0.3158 | 0.7192 | 0.4923 | 0.4211 | 0.3729 | 0.3514 | 0.5202
H | 0.7167 | 0.4812 | 0.5188 | 0.387 | 0.3826 | 0.338 | 0.727 | 0.6062 | 0.4116 | 0.4968 | 0.3563 | 0.2323
End Time: | 3/18/2026 1:40:16 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:40:19 PM
Temperature: 24.1 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 669 | 718 | 785 | 814 | 799 | 768 | 660 | 701 | 792 | 806 | 819 | 733
B | 676 | 729 | 802 | 822 | 807 | 776 | 656 | 698 | 792 | 814 | 817 | 764
C | 667 | 730 | 803 | 828 | 816 | 777 | 654 | 694 | 812 | 826 | 832 | 750
D | 680 | 753 | 803 | 833 | 821 | 784 | 664 | 717 | 789 | 822 | 831 | 772
E | 690 | 751 | 800 | 825 | 848 | 782 | 657 | 704 | 797 | 830 | 826 | 774
F | 680 | 745 | 814 | 834 | 824 | 780 | 669 | 710 | 801 | 826 | 829 | 776
G | 602 | 267 | 782 | 522 | 438 | 790 | 645 | 730 | 773 | 824 | 829 | 377
H | 440 | 737 | 605 | 827 | 837 | 766 | 659 | 606 | 809 | 565 | 822 | 761
End Time: | 3/18/2026 1:41:37 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:41:44 PM
Temperature: 24.1 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 135 | 149 | 161 | 167 | 166 | 159 | 135 | 143 | 162 | 168 | 165 | 150
B | 138 | 151 | 165 | 170 | 169 | 155 | 138 | 142 | 163 | 167 | 169 | 156
C | 138 | 149 | 163 | 168 | 170 | 160 | 133 | 146 | 165 | 168 | 170 | 154
D | 142 | 153 | 167 | 169 | 170 | 162 | 138 | 146 | 164 | 167 | 171 | 156
E | 143 | 151 | 165 | 168 | 170 | 163 | 136 | 148 | 166 | 171 | 169 | 155
F | 140 | 154 | 165 | 169 | 171 | 161 | 135 | 146 | 162 | 172 | 168 | 157
G | 126 | 55 | 161 | 106 | 90 | 161 | 132 | 149 | 158 | 171 | 171 | 77
H | 94 | 153 | 126 | 169 | 172 | 158 | 133 | 125 | 165 | 116 | 169 | 154
End Time: | 3/18/2026 1:43:02 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:43:08 PM
Temperature: 24.2 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 24 | 24 | 26 | 26 | 28 | 26 | 23 | 25 | 27 | 27 | 27 | 23
B | 22 | 23 | 24 | 29 | 26 | 25 | 23 | 22 | 28 | 26 | 27 | 26
C | 22 | 25 | 25 | 28 | 27 | 22 | 24 | 26 | 26 | 28 | 28 | 23
D | 33 | 25 | 27 | 29 | 28 | 24 | 22 | 24 | 26 | 28 | 27 | 24
E | 23 | 25 | 27 | 26 | 28 | 24 | 22 | 23 | 24 | 29 | 27 | 23
F | 25 | 25 | 28 | 28 | 26 | 25 | 21 | 21 | 28 | 27 | 26 | 24
G | 19 | 10 | 24 | 18 | 17 | 24 | 25 | 24 | 25 | 29 | 27 | 14
H | 15 | 24 | 22 | 28 | 26 | 24 | 22 | 19 | 25 | 20 | 27 | 24
End Time: | 3/18/2026 1:44:26 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:44:32 PM
Temperature: 24.2 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 6 | 6 | 6 | 6 | 7 | 6 | 5 | 5 | 6 | 6 | 6 | 5
B | 5 | 6 | 7 | 6 | 5 | 5 | 6 | 6 | 7 | 6 | 5 | 5
C | 5 | 6 | 7 | 7 | 6 | 6 | 5 | 6 | 6 | 7 | 7 | 5
D | 7 | 6 | 6 | 6 | 7 | 5 | 6 | 6 | 6 | 7 | 6 | 6
E | 7 | 6 | 6 | 6 | 7 | 6 | 5 | 5 | 6 | 6 | 6 | 5
F | 5 | 6 | 6 | 8 | 6 | 6 | 4 | 5 | 6 | 7 | 6 | 6
G | 5 | 3 | 6 | 4 | 4 | 6 | 5 | 6 | 6 | 6 | 6 | 3
H | 4 | 6 | 5 | 7 | 7 | 6 | 6 | 5 | 6 | 5 | 7 | 5
End Time: | 3/18/2026 1:45:50 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## something_else
Application: Tecan i-control |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  | Serial number: 1903001623 |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 1:36:29 PM
System |  |  | A912-TECAN-PC
User |  |  | A912-TECAN-PC\user
Plate |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  | Absorbance
Measurement Wavelength |  |  | 545 | nm
Bandwidth |  |  | 9 | nm
Number of Flashes |  |  | 25
Settle Time |  |  | 0 | ms
Part of Plate |  |  | A9-H10
Start Time: | 3/18/2026 1:36:29 PM
Temperature: 24 °C
<> | 9 | 10
A | 0.0782 | 0.0768
B | 0.074 | 0.074
C | 0.0716 | 0.0713
D | 0.07 | 0.0709
E | 0.0703 | 0.0708
F | 0.0711 | 0.0714
G | 0.0707 | 0.0717
H | 0.0695 | 0.0716
TABS 8,5 rerun
End Time: | 3/18/2026 1:36:50 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate1
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 1:27:49 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:27:49 PM
Temperature: 23.9 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.5453 | 0.3401 | 0.3453 | 0.3373 | 0.3013 | 0.264 | 0.4844 | 0.3662 | 0.3452 | 0.3241 | 0.2822 | 0.2188
B | 0.6033 | 0.4238 | 0.3691 | 0.358 | 0.3225 | 0.3258 | 0.455 | 0.3747 | 0.3476 | 0.3444 | 0.2922 | 0.2661
C | 0.535 | 0.4258 | 0.3646 | 0.3505 | 0.3327 | 0.3187 | 0.4565 | 0.3836 | 0.4059 | 0.3439 | 0.3104 | 0.2787
D | 0.5072 | 0.4348 | 0.3817 | 0.3786 | 0.3264 | 0.3297 | 0.4555 | 0.3797 | 0.3598 | 0.3442 | 0.3008 | 0.2798
E | 0.4843 | 0.4622 | 0.3892 | 0.3856 | 0.3505 | 0.3532 | 0.4736 | 0.4009 | 0.4239 | 0.3556 | 0.3001 | 0.2854
F | 0.4936 | 0.4736 | 0.4108 | 0.4188 | 0.3789 | 0.3629 | 0.5035 | 0.3995 | 0.3803 | 0.3669 | 0.326 | 0.2695
G | 0.5057 | 0.4648 | 0.4228 | 0.4209 | 0.3959 | 0.3964 | 0.5199 | 0.4303 | 0.3988 | 0.3678 | 0.3099 | 0.3125
H | 0.5688 | 0.4629 | 0.4113 | 0.4054 | 0.3774 | 0.3632 | 0.5261 | 0.4516 | 0.4358 | 0.3851 | 0.3124 | 0.2643
End Time: | 3/18/2026 1:29:07 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:29:10 PM
Temperature: 24 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 619 | 723 | 771 | 790 | 727 | 721 | 684 | 749 | 777 | 770 | 727 | 733
B | 651 | 749 | 784 | 820 | 750 | 738 | 696 | 772 | 788 | 787 | 743 | 728
C | 675 | 745 | 798 | 819 | 757 | 764 | 724 | 786 | 762 | 802 | 762 | 750
D | 696 | 765 | 810 | 822 | 778 | 774 | 728 | 797 | 796 | 824 | 762 | 764
E | 707 | 770 | 807 | 822 | 760 | 773 | 731 | 785 | 684 | 818 | 786 | 763
F | 712 | 772 | 817 | 826 | 765 | 779 | 743 | 798 | 803 | 816 | 775 | 758
G | 713 | 777 | 811 | 825 | 780 | 780 | 731 | 803 | 811 | 813 | 781 | 764
H | 707 | 776 | 820 | 835 | 777 | 781 | 738 | 804 | 814 | 817 | 774 | 753
End Time: | 3/18/2026 1:30:28 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:30:35 PM
Temperature: 24 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 130 | 149 | 157 | 163 | 148 | 148 | 143 | 159 | 160 | 160 | 152 | 149
B | 134 | 153 | 163 | 169 | 157 | 150 | 144 | 157 | 161 | 163 | 152 | 149
C | 138 | 152 | 167 | 169 | 156 | 159 | 150 | 161 | 155 | 164 | 160 | 155
D | 144 | 158 | 164 | 168 | 157 | 159 | 150 | 166 | 167 | 169 | 160 | 157
E | 146 | 157 | 168 | 169 | 158 | 159 | 152 | 165 | 139 | 168 | 162 | 157
F | 145 | 160 | 166 | 173 | 158 | 159 | 150 | 167 | 161 | 169 | 162 | 155
G | 147 | 156 | 167 | 172 | 160 | 161 | 151 | 166 | 170 | 170 | 160 | 156
H | 144 | 161 | 166 | 170 | 159 | 160 | 152 | 165 | 169 | 169 | 156 | 157
End Time: | 3/18/2026 1:31:52 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:31:59 PM
Temperature: 24.1 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 22 | 25 | 26 | 28 | 22 | 25 | 25 | 26 | 26 | 25 | 23 | 23
B | 22 | 25 | 28 | 27 | 24 | 23 | 25 | 28 | 27 | 25 | 24 | 25
C | 22 | 25 | 26 | 27 | 24 | 24 | 27 | 27 | 26 | 26 | 24 | 24
D | 22 | 26 | 27 | 29 | 26 | 27 | 24 | 25 | 27 | 29 | 24 | 22
E | 24 | 27 | 28 | 29 | 24 | 26 | 27 | 27 | 24 | 27 | 23 | 23
F | 25 | 25 | 27 | 27 | 25 | 23 | 24 | 24 | 26 | 28 | 24 | 22
G | 24 | 25 | 25 | 27 | 25 | 25 | 25 | 27 | 27 | 29 | 23 | 25
H | 25 | 26 | 27 | 28 | 23 | 26 | 26 | 25 | 27 | 26 | 24 | 25
End Time: | 3/18/2026 1:33:16 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 1:33:23 PM
Temperature: 24.1 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4 | 6 | 6 | 6 | 6 | 5 | 5 | 6 | 6 | 5 | 5 | 5
B | 5 | 6 | 7 | 6 | 4 | 5 | 5 | 5 | 6 | 6 | 6 | 5
C | 5 | 5 | 6 | 7 | 5 | 5 | 5 | 6 | 5 | 5 | 5 | 5
D | 4 | 6 | 6 | 6 | 5 | 5 | 6 | 6 | 6 | 5 | 5 | 5
E | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 6 | 5 | 6 | 5 | 5
F | 6 | 6 | 6 | 6 | 5 | 6 | 6 | 6 | 5 | 7 | 5 | 4
G | 6 | 5 | 7 | 6 | 6 | 6 | 5 | 5 | 5 | 6 | 5 | 5
H | 5 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 6 | 5
End Time: | 3/18/2026 1:34:40 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)