## Plate4
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 3:28:26 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:28:26 PM
Temperature: 24.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.7351 | 0.5186 | 0.4121 | 0.293 | 0.2444 | 0.2079 | 0.7318 | 0.4878 | 0.3837 | 0.2519 | 0.2658 | 0.2334
B | 0.757 | 0.5372 | 0.3973 | 0.2653 | 0.2508 | 0.242 | 0.7459 | 0.4707 | 0.3545 | 0.3061 | 0.2585 | 0.2232
C | 0.7779 | 0.5694 | 0.4202 | 0.2801 | 0.2529 | 0.2279 | 0.7568 | 0.5235 | 0.4247 | 0.3136 | 0.2689 | 0.2287
D | 0.7401 | 0.52 | 0.3979 | 0.2894 | 0.2665 | 0.2386 | 0.6996 | 0.525 | 0.4273 | 0.2935 | 0.2632 | 0.2388
E | 0.7766 | 0.5454 | 0.4028 | 0.2861 | 0.2579 | 0.2257 | 0.7104 | 0.5176 | 0.4219 | 0.3076 | 0.2706 | 0.2219
F | 0.7882 | 0.5225 | 0.4082 | 0.2937 | 0.259 | 0.2211 | 0.7277 | 0.5314 | 0.3934 | 0.3169 | 0.2655 | 0.2265
G | 0.7369 | 0.5321 | 0.4015 | 0.3139 | 0.2589 | 0.2287 | 0.7103 | 0.5191 | 0.4123 | 0.2921 | 0.2622 | 0.2329
H | 0.7233 | 0.5135 | 0.4193 | 0.2951 | 0.2585 | 0.2261 | 0.7874 | 0.5075 | 0.3679 | 0.2848 | 0.2565 | 0.2234
End Time: | 3/18/2026 3:29:45 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:29:48 PM
Temperature: 24.7 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 687 | 686 | 724 | 794 | 818 | 762 | 698 | 692 | 726 | 779 | 814 | 747
B | 702 | 697 | 741 | 806 | 825 | 763 | 721 | 728 | 747 | 775 | 811 | 746
C | 687 | 701 | 732 | 810 | 822 | 769 | 739 | 721 | 729 | 800 | 828 | 771
D | 735 | 723 | 732 | 822 | 840 | 782 | 739 | 729 | 717 | 808 | 828 | 771
E | 722 | 719 | 750 | 816 | 834 | 788 | 727 | 738 | 735 | 794 | 839 | 769
F | 713 | 735 | 752 | 836 | 826 | 786 | 721 | 736 | 762 | 823 | 823 | 784
G | 745 | 724 | 758 | 789 | 841 | 786 | 710 | 741 | 741 | 803 | 843 | 775
H | 695 | 716 | 753 | 818 | 842 | 801 | 751 | 714 | 774 | 814 | 831 | 774
End Time: | 3/18/2026 3:31:06 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:31:12 PM
Temperature: 24.7 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 139 | 140 | 146 | 162 | 168 | 158 | 145 | 141 | 148 | 158 | 167 | 155
B | 146 | 144 | 153 | 168 | 170 | 158 | 146 | 150 | 155 | 164 | 169 | 157
C | 142 | 144 | 149 | 168 | 171 | 157 | 150 | 147 | 149 | 165 | 169 | 158
D | 151 | 151 | 152 | 168 | 173 | 162 | 151 | 152 | 151 | 164 | 171 | 159
E | 148 | 148 | 153 | 170 | 173 | 160 | 151 | 151 | 149 | 170 | 171 | 160
F | 146 | 150 | 155 | 171 | 172 | 162 | 149 | 152 | 159 | 170 | 172 | 163
G | 151 | 149 | 156 | 166 | 173 | 163 | 147 | 152 | 152 | 170 | 175 | 160
H | 144 | 152 | 152 | 168 | 176 | 163 | 154 | 150 | 159 | 170 | 172 | 158
End Time: | 3/18/2026 3:32:30 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:32:37 PM
Temperature: 24.8 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 22 | 25 | 24 | 26 | 29 | 21 | 23 | 25 | 24 | 26 | 25 | 24
B | 23 | 21 | 25 | 26 | 28 | 24 | 22 | 27 | 24 | 26 | 27 | 22
C | 21 | 23 | 25 | 28 | 29 | 26 | 20 | 24 | 25 | 28 | 32 | 23
D | 22 | 24 | 24 | 28 | 29 | 24 | 25 | 25 | 25 | 27 | 28 | 24
E | 21 | 23 | 24 | 27 | 27 | 25 | 23 | 25 | 25 | 28 | 27 | 24
F | 22 | 25 | 25 | 26 | 26 | 26 | 22 | 25 | 26 | 28 | 27 | 24
G | 23 | 24 | 25 | 26 | 25 | 26 | 21 | 25 | 27 | 25 | 28 | 24
H | 24 | 25 | 25 | 29 | 30 | 25 | 23 | 25 | 27 | 30 | 28 | 25
End Time: | 3/18/2026 3:33:54 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:34:01 PM
Temperature: 24.8 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 5 | 7 | 6 | 7 | 7 | 6 | 6 | 7 | 7 | 7 | 7 | 6
B | 6 | 6 | 6 | 7 | 7 | 6 | 5 | 7 | 6 | 7 | 7 | 6
C | 6 | 6 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 6
D | 6 | 6 | 7 | 7 | 7 | 6 | 6 | 7 | 6 | 6 | 7 | 5
E | 5 | 6 | 7 | 7 | 7 | 6 | 6 | 6 | 7 | 8 | 7 | 6
F | 6 | 7 | 7 | 6 | 7 | 6 | 6 | 7 | 7 | 6 | 7 | 6
G | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 6 | 7 | 6 | 7 | 6
H | 6 | 6 | 6 | 7 | 8 | 6 | 6 | 6 | 6 | 6 | 7 | 6
End Time: | 3/18/2026 3:35:18 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate3
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 3:21:03 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:21:03 PM
Temperature: 24.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.7907 | 0.4027 | 0.2826 | 0.233 | 0.2304 | 0.203 | 0.6091 | 0.4409 | 0.3334 | 0.2713 | 0.231 | 0.2011
B | 0.7147 | 0.3841 | 0.278 | 0.2355 | 0.2339 | 0.2047 | 0.6446 | 0.4868 | 0.374 | 0.2827 | 0.2385 | 0.2055
C | 0.71 | 0.3768 | 0.2825 | 0.2486 | 0.2329 | 0.2057 | 0.6017 | 0.4775 | 0.3685 | 0.2755 | 0.2383 | 0.2073
D | 0.6975 | 0.3764 | 0.2778 | 0.2519 | 0.2352 | 0.2122 | 0.6116 | 0.4865 | 0.3714 | 0.2759 | 0.2482 | 0.2064
E | 0.6808 | 0.3595 | 0.2785 | 0.2413 | 0.2374 | 0.2048 | 0.6318 | 0.4859 | 0.3729 | 0.2718 | 0.2399 | 0.2082
F | 0.6967 | 0.385 | 0.2854 | 0.2434 | 0.2379 | 0.2153 | 0.6186 | 0.4705 | 0.3932 | 0.2643 | 0.2397 | 0.2085
G | 0.6929 | 0.3912 | 0.327 | 0.2426 | 0.2349 | 0.2043 | 0.6313 | 0.4821 | 0.3574 | 0.2813 | 0.2398 | 0.2023
H | 0.7017 | 0.3959 | 0.2928 | 0.2434 | 0.2385 | 0.2104 | 0.614 | 0.4844 | 0.3828 | 0.2768 | 0.2338 | 0.2
End Time: | 3/18/2026 3:22:21 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:22:24 PM
Temperature: 24.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 665 | 704 | 751 | 793 | 800 | 750 | 702 | 697 | 751 | 780 | 814 | 750
B | 687 | 711 | 762 | 808 | 819 | 776 | 733 | 666 | 745 | 784 | 811 | 760
C | 711 | 711 | 766 | 805 | 831 | 771 | 723 | 663 | 752 | 802 | 807 | 755
D | 717 | 732 | 783 | 812 | 832 | 770 | 720 | 677 | 747 | 792 | 797 | 770
E | 702 | 748 | 773 | 809 | 844 | 782 | 728 | 682 | 753 | 814 | 831 | 782
F | 694 | 736 | 781 | 821 | 842 | 775 | 719 | 686 | 757 | 817 | 818 | 767
G | 715 | 727 | 777 | 832 | 838 | 780 | 730 | 690 | 768 | 802 | 850 | 764
H | 698 | 728 | 773 | 821 | 843 | 802 | 735 | 693 | 768 | 817 | 831 | 775
End Time: | 3/18/2026 3:23:42 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:23:49 PM
Temperature: 24.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 134 | 142 | 157 | 163 | 166 | 152 | 143 | 141 | 155 | 160 | 167 | 154
B | 140 | 145 | 157 | 166 | 168 | 158 | 150 | 138 | 154 | 160 | 170 | 157
C | 143 | 146 | 159 | 165 | 171 | 162 | 148 | 137 | 156 | 167 | 166 | 158
D | 145 | 150 | 161 | 165 | 170 | 158 | 146 | 140 | 152 | 164 | 166 | 157
E | 143 | 151 | 159 | 169 | 172 | 158 | 148 | 145 | 155 | 170 | 171 | 157
F | 143 | 152 | 160 | 173 | 171 | 159 | 151 | 141 | 153 | 166 | 170 | 158
G | 144 | 149 | 161 | 171 | 174 | 160 | 150 | 140 | 161 | 164 | 171 | 160
H | 145 | 152 | 160 | 171 | 172 | 162 | 150 | 144 | 162 | 169 | 173 | 161
End Time: | 3/18/2026 3:25:06 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:25:13 PM
Temperature: 24.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 20 | 24 | 26 | 26 | 30 | 23 | 23 | 24 | 27 | 25 | 28 | 24
B | 22 | 24 | 24 | 26 | 29 | 24 | 23 | 22 | 24 | 26 | 27 | 25
C | 21 | 23 | 25 | 28 | 29 | 24 | 24 | 24 | 25 | 28 | 30 | 23
D | 23 | 25 | 26 | 27 | 27 | 25 | 23 | 24 | 24 | 26 | 26 | 22
E | 21 | 25 | 26 | 27 | 28 | 24 | 23 | 24 | 24 | 27 | 27 | 25
F | 20 | 25 | 27 | 25 | 28 | 22 | 23 | 22 | 24 | 26 | 27 | 23
G | 24 | 25 | 26 | 27 | 26 | 25 | 23 | 22 | 26 | 26 | 27 | 22
H | 23 | 25 | 26 | 28 | 29 | 26 | 23 | 25 | 27 | 28 | 26 | 25
End Time: | 3/18/2026 3:26:31 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:26:37 PM
Temperature: 24.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 5 | 6 | 6 | 6 | 6 | 6 | 5 | 5 | 7 | 6 | 6 | 6
B | 5 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 6 | 6 | 6 | 6
C | 5 | 6 | 6 | 6 | 6 | 6 | 7 | 5 | 6 | 7 | 7 | 5
D | 6 | 7 | 7 | 7 | 7 | 6 | 6 | 6 | 7 | 6 | 6 | 7
E | 6 | 6 | 7 | 7 | 7 | 6 | 6 | 6 | 6 | 6 | 7 | 6
F | 6 | 6 | 7 | 6 | 7 | 7 | 6 | 6 | 5 | 6 | 7 | 5
G | 5 | 6 | 6 | 7 | 7 | 6 | 6 | 5 | 6 | 7 | 7 | 6
H | 5 | 6 | 6 | 6 | 6 | 5 | 5 | 6 | 6 | 6 | 7 | 6
End Time: | 3/18/2026 3:27:55 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 3:13:30 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:13:30 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.5846 | 0.5012 | 0.315 | 0.2626 | 0.2578 | 0.2287 | 0.7041 | 0.524 | 0.3294 | 0.2643 | 0.2514 | 0.2238
B | 0.6744 | 0.4844 | 0.3505 | 0.3042 | 0.3061 | 0.2489 | 0.7403 | 0.5582 | 0.3663 | 0.3121 | 0.3044 | 0.233
C | 0.6684 | 0.5208 | 0.3621 | 0.2846 | 0.2718 | 0.2472 | 0.7594 | 0.5497 | 0.3749 | 0.3257 | 0.3124 | 0.2412
D | 0.6085 | 0.5053 | 0.3756 | 0.298 | 0.2758 | 0.2346 | 0.7544 | 0.5728 | 0.3948 | 0.3022 | 0.3006 | 0.2391
E | 0.5543 | 0.5169 | 0.3855 | 0.2956 | 0.2833 | 0.2279 | 0.769 | 0.5814 | 0.4015 | 0.3138 | 0.3205 | 0.2354
F | 0.5758 | 0.4845 | 0.3724 | 0.3015 | 0.2906 | 0.2765 | 0.7396 | 0.57 | 0.4055 | 0.3312 | 0.3048 | 0.2383
G | 0.6331 | 0.9266 | 0.4198 | 0.5135 | 0.562 | 0.2956 | 0.7845 | 0.5707 | 0.4647 | 0.3553 | 0.3319 | 0.4788
H | 0.7535 | 0.4934 | 0.4613 | 0.3025 | 0.2989 | 0.2845 | 0.7451 | 0.6241 | 0.3584 | 0.4294 | 0.2957 | 0.244
End Time: | 3/18/2026 3:14:48 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:14:51 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 656 | 701 | 770 | 807 | 820 | 758 | 658 | 673 | 773 | 795 | 814 | 725
B | 699 | 720 | 766 | 807 | 813 | 766 | 657 | 682 | 774 | 801 | 805 | 746
C | 680 | 696 | 782 | 819 | 827 | 773 | 663 | 682 | 769 | 819 | 811 | 746
D | 707 | 722 | 774 | 824 | 822 | 789 | 659 | 692 | 770 | 813 | 824 | 766
E | 712 | 731 | 775 | 815 | 832 | 777 | 656 | 684 | 770 | 827 | 808 | 752
F | 718 | 738 | 787 | 815 | 830 | 783 | 655 | 676 | 760 | 814 | 821 | 766
G | 605 | 262 | 759 | 502 | 437 | 779 | 661 | 706 | 726 | 808 | 823 | 376
H | 455 | 716 | 589 | 822 | 834 | 750 | 656 | 596 | 788 | 553 | 820 | 756
End Time: | 3/18/2026 3:16:09 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:16:16 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 136 | 142 | 159 | 165 | 168 | 157 | 136 | 136 | 161 | 166 | 165 | 149
B | 141 | 146 | 161 | 166 | 170 | 157 | 135 | 140 | 158 | 166 | 166 | 154
C | 140 | 143 | 160 | 169 | 170 | 157 | 138 | 140 | 158 | 168 | 169 | 154
D | 145 | 148 | 160 | 169 | 168 | 161 | 135 | 144 | 158 | 168 | 170 | 160
E | 147 | 147 | 161 | 168 | 171 | 161 | 135 | 141 | 161 | 166 | 169 | 154
F | 147 | 149 | 163 | 168 | 169 | 158 | 137 | 138 | 155 | 169 | 169 | 155
G | 127 | 55 | 156 | 104 | 89 | 162 | 134 | 143 | 147 | 166 | 167 | 77
H | 94 | 147 | 123 | 171 | 173 | 155 | 135 | 121 | 159 | 117 | 169 | 155
End Time: | 3/18/2026 3:17:34 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:17:40 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 21 | 21 | 24 | 26 | 27 | 22 | 21 | 20 | 27 | 26 | 27 | 22
B | 23 | 22 | 26 | 26 | 26 | 22 | 22 | 24 | 27 | 25 | 25 | 23
C | 22 | 23 | 24 | 30 | 28 | 24 | 21 | 20 | 26 | 26 | 26 | 23
D | 31 | 24 | 25 | 27 | 27 | 24 | 21 | 25 | 26 | 28 | 27 | 24
E | 22 | 26 | 23 | 28 | 26 | 23 | 20 | 23 | 27 | 28 | 27 | 24
F | 23 | 26 | 27 | 26 | 26 | 25 | 21 | 22 | 26 | 27 | 28 | 23
G | 19 | 10 | 26 | 19 | 17 | 25 | 22 | 23 | 23 | 27 | 30 | 13
H | 17 | 23 | 21 | 27 | 27 | 23 | 21 | 20 | 25 | 19 | 26 | 24
End Time: | 3/18/2026 3:18:58 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:19:04 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 5 | 6 | 7 | 7 | 5
B | 5 | 5 | 5 | 5 | 7 | 6 | 5 | 6 | 6 | 6 | 6 | 7
C | 6 | 6 | 6 | 6 | 7 | 7 | 5 | 6 | 6 | 7 | 7 | 6
D | 8 | 7 | 6 | 7 | 7 | 6 | 6 | 6 | 6 | 6 | 7 | 6
E | 6 | 6 | 6 | 6 | 7 | 7 | 5 | 5 | 6 | 7 | 6 | 6
F | 5 | 6 | 6 | 6 | 6 | 6 | 5 | 5 | 6 | 6 | 6 | 6
G | 5 | 4 | 6 | 5 | 5 | 6 | 5 | 6 | 6 | 7 | 7 | 4
H | 4 | 6 | 6 | 7 | 6 | 6 | 5 | 6 | 6 | 5 | 7 | 6
End Time: | 3/18/2026 3:20:22 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate1
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 3:00:59 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:00:59 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.6798 | 0.4365 | 0.419 | 0.3758 | 0.344 | 0.287 | 0.5955 | 0.4413 | 0.395 | 0.3617 | 0.3201 | 0.2072
B | 0.7361 | 0.5361 | 0.4603 | 0.4107 | 0.3778 | 0.3876 | 0.5748 | 0.4567 | 0.3979 | 0.382 | 0.336 | 0.3029
C | 0.6174 | 0.5535 | 0.4385 | 0.4016 | 0.3924 | 0.3603 | 0.5871 | 0.4548 | 0.4555 | 0.3914 | 0.3531 | 0.3233
D | 0.5982 | 0.5528 | 0.4581 | 0.4272 | 0.3723 | 0.3702 | 0.5725 | 0.4311 | 0.4118 | 0.4016 | 0.3478 | 0.3234
E | 0.5762 | 0.579 | 0.4842 | 0.4426 | 0.4 | 0.3964 | 0.6043 | 0.4643 | 0.4735 | 0.4003 | 0.3516 | 0.3266
F | 0.5876 | 0.5846 | 0.4899 | 0.4571 | 0.4133 | 0.3985 | 0.6125 | 0.4693 | 0.434 | 0.4146 | 0.3713 | 0.3054
G | 0.604 | 0.581 | 0.486 | 0.4704 | 0.4446 | 0.4527 | 0.6255 | 0.4809 | 0.4446 | 0.4033 | 0.3567 | 0.3611
H | 0.6961 | 0.5946 | 0.4709 | 0.4652 | 0.4263 | 0.4114 | 0.6238 | 0.5186 | 0.4737 | 0.4155 | 0.3446 | 0.2919
End Time: | 3/18/2026 3:02:17 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:02:20 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 620 | 701 | 752 | 782 | 730 | 717 | 676 | 738 | 769 | 774 | 736 | 725
B | 645 | 732 | 767 | 812 | 750 | 738 | 694 | 755 | 786 | 784 | 731 | 730
C | 664 | 716 | 776 | 801 | 757 | 761 | 707 | 772 | 762 | 807 | 763 | 754
D | 683 | 736 | 802 | 818 | 774 | 775 | 703 | 780 | 797 | 822 | 769 | 763
E | 690 | 746 | 778 | 831 | 767 | 779 | 726 | 794 | 683 | 827 | 788 | 761
F | 696 | 746 | 798 | 829 | 772 | 776 | 730 | 781 | 809 | 824 | 771 | 767
G | 698 | 736 | 800 | 823 | 781 | 772 | 715 | 793 | 815 | 817 | 781 | 775
H | 701 | 760 | 811 | 830 | 775 | 781 | 727 | 788 | 802 | 832 | 781 | 765
End Time: | 3/18/2026 3:03:38 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:03:45 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 128 | 147 | 158 | 162 | 153 | 151 | 141 | 154 | 159 | 161 | 150 | 146
B | 135 | 150 | 164 | 169 | 156 | 154 | 142 | 157 | 163 | 162 | 153 | 149
C | 137 | 150 | 164 | 168 | 161 | 160 | 147 | 159 | 157 | 164 | 158 | 154
D | 142 | 154 | 165 | 169 | 161 | 159 | 146 | 163 | 165 | 169 | 160 | 158
E | 142 | 153 | 163 | 170 | 160 | 160 | 147 | 164 | 144 | 171 | 162 | 160
F | 145 | 153 | 167 | 171 | 160 | 162 | 150 | 163 | 165 | 170 | 159 | 158
G | 145 | 155 | 166 | 173 | 163 | 162 | 148 | 163 | 169 | 171 | 162 | 159
H | 145 | 155 | 167 | 170 | 162 | 161 | 151 | 165 | 169 | 170 | 161 | 158
End Time: | 3/18/2026 3:05:02 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:05:09 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 21 | 24 | 24 | 26 | 21 | 21 | 22 | 25 | 28 | 26 | 22 | 24
B | 22 | 24 | 27 | 28 | 22 | 24 | 23 | 24 | 25 | 25 | 21 | 23
C | 21 | 22 | 28 | 25 | 23 | 23 | 22 | 25 | 26 | 26 | 22 | 24
D | 22 | 23 | 27 | 28 | 25 | 25 | 23 | 26 | 27 | 27 | 23 | 24
E | 20 | 23 | 25 | 29 | 23 | 25 | 25 | 28 | 23 | 26 | 24 | 23
F | 22 | 21 | 28 | 25 | 23 | 24 | 23 | 26 | 25 | 26 | 24 | 24
G | 21 | 21 | 27 | 28 | 23 | 26 | 23 | 25 | 23 | 27 | 24 | 23
H | 22 | 24 | 25 | 27 | 25 | 24 | 24 | 26 | 26 | 27 | 24 | 23
End Time: | 3/18/2026 3:06:27 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 3:06:33 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 5 | 5 | 6 | 6 | 5 | 5 | 5 | 6 | 6 | 6 | 6 | 7
B | 5 | 5 | 6 | 7 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 5
C | 5 | 6 | 5 | 7 | 5 | 6 | 6 | 6 | 5 | 6 | 6 | 5
D | 6 | 6 | 6 | 7 | 6 | 6 | 5 | 7 | 6 | 7 | 5 | 6
E | 5 | 6 | 6 | 6 | 6 | 5 | 6 | 5 | 6 | 6 | 5 | 6
F | 5 | 6 | 7 | 6 | 6 | 5 | 6 | 6 | 6 | 6 | 6 | 7
G | 6 | 5 | 6 | 7 | 6 | 7 | 5 | 6 | 6 | 6 | 5 | 6
H | 5 | 6 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5
End Time: | 3/18/2026 3:07:51 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)