## Plate4
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 5:09:55 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:09:55 PM
Temperature: 24.7 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.8704 | 0.6471 | 0.4836 | 0.342 | 0.2279 | 0.1992 | 0.8536 | 0.5939 | 0.5002 | 0.2856 | 0.2376 | 0.2015
B | 0.9532 | 0.7212 | 0.5384 | 0.3548 | 0.3007 | 0.2905 | 0.8967 | 0.6128 | 0.493 | 0.3854 | 0.2861 | 0.2582
C | 0.9944 | 0.7601 | 0.6111 | 0.3669 | 0.303 | 0.2791 | 0.8619 | 0.7023 | 0.5875 | 0.4255 | 0.3289 | 0.2744
D | 0.966 | 0.7094 | 0.5417 | 0.3706 | 0.324 | 0.2901 | 0.8341 | 0.7255 | 0.6195 | 0.398 | 0.3186 | 0.2817
E | 0.9767 | 0.7474 | 0.5541 | 0.3923 | 0.3159 | 0.2831 | 0.8528 | 0.712 | 0.5655 | 0.4246 | 0.3616 | 0.2604
F | 0.9949 | 0.6935 | 0.5664 | 0.3688 | 0.3116 | 0.2663 | 0.8588 | 0.7291 | 0.5582 | 0.45 | 0.3293 | 0.2682
G | 0.9417 | 0.7016 | 0.5489 | 0.4362 | 0.3066 | 0.2825 | 0.8766 | 0.7171 | 0.5833 | 0.3962 | 0.3369 | 0.2767
H | 0.812 | 0.5871 | 0.5347 | 0.3102 | 0.2418 | 0.2055 | 0.8512 | 0.5791 | 0.4311 | 0.3289 | 0.2733 | 0.2175
End Time: | 3/18/2026 5:11:14 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:11:17 PM
Temperature: 24.7 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 657 | 682 | 703 | 762 | 833 | 762 | 691 | 702 | 708 | 762 | 813 | 740
B | 678 | 690 | 713 | 789 | 831 | 779 | 693 | 737 | 698 | 751 | 804 | 747
C | 662 | 690 | 710 | 775 | 833 | 771 | 695 | 727 | 711 | 757 | 806 | 746
D | 678 | 721 | 713 | 793 | 824 | 777 | 714 | 755 | 709 | 761 | 822 | 772
E | 680 | 704 | 712 | 794 | 831 | 787 | 717 | 737 | 727 | 754 | 804 | 772
F | 673 | 728 | 746 | 804 | 828 | 789 | 699 | 754 | 714 | 766 | 826 | 773
G | 687 | 699 | 736 | 773 | 834 | 788 | 705 | 750 | 724 | 777 | 815 | 774
H | 710 | 726 | 717 | 781 | 834 | 789 | 713 | 726 | 722 | 768 | 821 | 764
End Time: | 3/18/2026 5:12:35 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:12:41 PM
Temperature: 24.8 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 136 | 140 | 144 | 158 | 168 | 159 | 142 | 147 | 147 | 157 | 169 | 155
B | 138 | 144 | 152 | 164 | 173 | 158 | 144 | 155 | 143 | 154 | 168 | 155
C | 136 | 141 | 147 | 165 | 171 | 159 | 143 | 150 | 146 | 158 | 169 | 157
D | 140 | 153 | 148 | 163 | 173 | 162 | 148 | 160 | 149 | 157 | 170 | 162
E | 138 | 146 | 149 | 163 | 170 | 162 | 150 | 155 | 149 | 159 | 171 | 159
F | 138 | 149 | 153 | 168 | 171 | 164 | 143 | 156 | 149 | 160 | 167 | 162
G | 143 | 144 | 150 | 162 | 172 | 163 | 143 | 156 | 150 | 160 | 170 | 159
H | 149 | 150 | 149 | 162 | 171 | 164 | 148 | 151 | 150 | 160 | 169 | 159
End Time: | 3/18/2026 5:13:59 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:14:06 PM
Temperature: 24.8 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 21 | 21 | 22 | 23 | 28 | 23 | 20 | 23 | 22 | 24 | 27 | 23
B | 20 | 22 | 23 | 25 | 28 | 22 | 20 | 23 | 23 | 24 | 27 | 21
C | 18 | 20 | 23 | 24 | 26 | 23 | 20 | 22 | 23 | 25 | 31 | 22
D | 20 | 21 | 21 | 25 | 26 | 22 | 23 | 24 | 22 | 25 | 27 | 25
E | 19 | 20 | 24 | 24 | 27 | 22 | 22 | 24 | 24 | 25 | 27 | 25
F | 20 | 19 | 22 | 26 | 25 | 22 | 20 | 22 | 22 | 25 | 25 | 23
G | 19 | 21 | 22 | 23 | 25 | 24 | 20 | 23 | 23 | 24 | 26 | 23
H | 23 | 22 | 21 | 25 | 25 | 23 | 22 | 24 | 22 | 24 | 26 | 21
End Time: | 3/18/2026 5:15:23 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:15:30 PM
Temperature: 24.8 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4 | 6 | 5 | 6 | 7 | 6 | 5 | 5 | 6 | 6 | 6 | 6
B | 5 | 5 | 6 | 7 | 7 | 7 | 5 | 6 | 6 | 7 | 7 | 6
C | 5 | 6 | 6 | 7 | 7 | 7 | 6 | 6 | 6 | 6 | 7 | 6
D | 5 | 5 | 6 | 7 | 7 | 6 | 6 | 6 | 5 | 6 | 7 | 7
E | 5 | 6 | 6 | 7 | 7 | 6 | 6 | 6 | 6 | 7 | 7 | 6
F | 4 | 6 | 6 | 7 | 7 | 7 | 6 | 6 | 6 | 7 | 6 | 6
G | 5 | 6 | 6 | 4 | 6 | 7 | 5 | 7 | 6 | 6 | 7 | 6
H | 5 | 6 | 6 | 6 | 7 | 6 | 6 | 6 | 6 | 6 | 7 | 6
End Time: | 3/18/2026 5:16:47 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate3
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 5:02:35 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:02:35 PM
Temperature: 24.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1.0161 | 0.4947 | 0.3219 | 0.2636 | 0.2451 | 0.2164 | 0.7043 | 0.523 | 0.4022 | 0.3172 | 0.2386 | 0.2045
B | 0.9616 | 0.4812 | 0.311 | 0.2553 | 0.2487 | 0.2159 | 0.7399 | 0.5343 | 0.4449 | 0.3368 | 0.2649 | 0.2111
C | 0.9666 | 0.4745 | 0.3201 | 0.2734 | 0.2436 | 0.215 | 0.7086 | 0.5441 | 0.4634 | 0.3297 | 0.2455 | 0.2121
D | 0.9503 | 0.4826 | 0.3126 | 0.273 | 0.2454 | 0.2252 | 0.7182 | 0.5589 | 0.4663 | 0.3651 | 0.2618 | 0.2106
E | 0.932 | 0.4441 | 0.3132 | 0.2579 | 0.2494 | 0.2212 | 0.7467 | 0.5838 | 0.4676 | 0.3366 | 0.254 | 0.2143
F | 0.9692 | 0.4896 | 0.3179 | 0.2632 | 0.2462 | 0.2287 | 0.7442 | 0.5476 | 0.5119 | 0.316 | 0.255 | 0.2135
G | 0.9514 | 0.4901 | 0.3578 | 0.2581 | 0.2415 | 0.2094 | 0.7677 | 0.5563 | 0.4449 | 0.3239 | 0.2749 | 0.2042
H | 0.9309 | 0.4832 | 0.3331 | 0.2552 | 0.2416 | 0.2135 | 0.7414 | 0.5394 | 0.4686 | 0.3234 | 0.238 | 0.2008
End Time: | 3/18/2026 5:03:53 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:03:56 PM
Temperature: 24.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 623 | 688 | 749 | 773 | 811 | 750 | 697 | 703 | 739 | 769 | 821 | 759
B | 650 | 694 | 754 | 810 | 833 | 770 | 728 | 679 | 736 | 758 | 815 | 772
C | 663 | 695 | 780 | 798 | 830 | 786 | 716 | 672 | 723 | 789 | 822 | 771
D | 664 | 698 | 780 | 818 | 831 | 787 | 711 | 685 | 733 | 778 | 788 | 780
E | 674 | 719 | 776 | 816 | 836 | 787 | 712 | 705 | 732 | 790 | 827 | 768
F | 668 | 725 | 775 | 819 | 831 | 782 | 717 | 690 | 723 | 793 | 823 | 782
G | 671 | 703 | 769 | 823 | 845 | 783 | 700 | 694 | 741 | 773 | 830 | 769
H | 665 | 720 | 761 | 817 | 849 | 791 | 703 | 701 | 747 | 791 | 831 | 773
End Time: | 3/18/2026 5:05:14 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:05:21 PM
Temperature: 24.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 128 | 142 | 155 | 160 | 167 | 154 | 142 | 143 | 152 | 158 | 169 | 157
B | 133 | 143 | 159 | 166 | 170 | 159 | 145 | 138 | 149 | 157 | 167 | 157
C | 134 | 145 | 159 | 162 | 171 | 160 | 146 | 138 | 151 | 162 | 170 | 156
D | 136 | 144 | 160 | 165 | 168 | 159 | 145 | 140 | 151 | 158 | 163 | 159
E | 140 | 147 | 160 | 167 | 171 | 159 | 146 | 145 | 149 | 160 | 170 | 156
F | 134 | 149 | 161 | 169 | 172 | 161 | 145 | 141 | 147 | 166 | 170 | 159
G | 139 | 144 | 156 | 169 | 172 | 159 | 143 | 142 | 152 | 159 | 170 | 157
H | 135 | 147 | 156 | 165 | 174 | 163 | 147 | 144 | 153 | 163 | 170 | 158
End Time: | 3/18/2026 5:06:38 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:06:45 PM
Temperature: 24.6 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 19 | 25 | 26 | 28 | 31 | 25 | 24 | 23 | 25 | 28 | 29 | 25
B | 20 | 24 | 29 | 27 | 28 | 24 | 23 | 21 | 25 | 26 | 28 | 24
C | 20 | 24 | 27 | 28 | 29 | 25 | 23 | 24 | 25 | 27 | 28 | 25
D | 23 | 27 | 27 | 27 | 28 | 27 | 23 | 24 | 24 | 26 | 27 | 25
E | 21 | 24 | 28 | 26 | 29 | 26 | 22 | 25 | 25 | 26 | 27 | 23
F | 22 | 26 | 27 | 29 | 29 | 24 | 22 | 22 | 25 | 27 | 28 | 24
G | 21 | 25 | 27 | 27 | 28 | 25 | 23 | 25 | 23 | 25 | 27 | 23
H | 20 | 24 | 28 | 29 | 29 | 25 | 25 | 23 | 23 | 27 | 26 | 24
End Time: | 3/18/2026 5:08:03 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:08:09 PM
Temperature: 24.7 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4 | 5 | 6 | 6 | 7 | 6 | 6 | 5 | 6 | 6 | 6 | 6
B | 4 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5
C | 4 | 6 | 6 | 6 | 6 | 5 | 6 | 6 | 6 | 6 | 7 | 6
D | 5 | 5 | 6 | 6 | 6 | 6 | 5 | 5 | 6 | 7 | 6 | 5
E | 5 | 5 | 6 | 6 | 6 | 6 | 5 | 5 | 6 | 7 | 6 | 6
F | 5 | 7 | 6 | 7 | 7 | 5 | 4 | 6 | 6 | 5 | 7 | 6
G | 6 | 5 | 6 | 6 | 7 | 5 | 6 | 5 | 7 | 7 | 7 | 5
H | 5 | 5 | 6 | 7 | 7 | 5 | 4 | 6 | 6 | 7 | 8 | 6
End Time: | 3/18/2026 5:09:27 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 4:55:09 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 4:55:09 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.6563 | 0.574 | 0.4042 | 0.2708 | 0.2359 | 0.2085 | 0.8139 | 0.5944 | 0.4321 | 0.2588 | 0.2301 | 0.2039
B | 0.7689 | 0.5817 | 0.3777 | 0.2679 | 0.2457 | 0.2079 | 0.8046 | 0.5736 | 0.4394 | 0.2581 | 0.2503 | 0.2098
C | 0.7269 | 0.5559 | 0.3702 | 0.2428 | 0.2314 | 0.2183 | 0.8077 | 0.5712 | 0.4495 | 0.299 | 0.2451 | 0.2163
D | 0.6997 | 0.5301 | 0.3868 | 0.2531 | 0.2343 | 0.2123 | 0.7974 | 0.5906 | 0.4326 | 0.2731 | 0.2485 | 0.2141
E | 0.5885 | 0.5549 | 0.3866 | 0.2524 | 0.2398 | 0.2101 | 0.841 | 0.6056 | 0.4235 | 0.2877 | 0.2514 | 0.2124
F | 0.5959 | 0.5102 | 0.3982 | 0.2673 | 0.2584 | 0.2406 | 0.8201 | 0.618 | 0.4459 | 0.3242 | 0.2479 | 0.2193
G | 0.6172 | 0.9442 | 0.4256 | 0.4805 | 0.5221 | 0.2599 | 0.8445 | 0.6229 | 0.4887 | 0.3448 | 0.2808 | 0.4596
H | 0.7317 | 0.5593 | 0.5157 | 0.2722 | 0.2623 | 0.2454 | 0.8093 | 0.6882 | 0.4114 | 0.4045 | 0.2644 | 0.2242
End Time: | 3/18/2026 4:56:28 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 4:56:31 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 690 | 680 | 731 | 798 | 812 | 756 | 646 | 666 | 730 | 792 | 797 | 729
B | 691 | 697 | 762 | 800 | 816 | 758 | 644 | 678 | 736 | 795 | 810 | 754
C | 693 | 695 | 757 | 812 | 825 | 769 | 648 | 684 | 703 | 800 | 819 | 756
D | 740 | 717 | 761 | 803 | 817 | 769 | 653 | 696 | 723 | 813 | 821 | 757
E | 762 | 706 | 750 | 811 | 828 | 777 | 645 | 693 | 732 | 805 | 830 | 752
F | 753 | 709 | 751 | 803 | 811 | 779 | 642 | 668 | 721 | 794 | 826 | 767
G | 629 | 263 | 724 | 500 | 426 | 778 | 645 | 695 | 714 | 799 | 819 | 377
H | 470 | 706 | 571 | 828 | 833 | 751 | 651 | 585 | 749 | 541 | 811 | 760
End Time: | 3/18/2026 4:57:49 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 4:57:55 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 140 | 142 | 152 | 162 | 166 | 156 | 133 | 138 | 148 | 164 | 166 | 149
B | 144 | 142 | 156 | 164 | 169 | 155 | 131 | 140 | 146 | 166 | 166 | 156
C | 142 | 143 | 154 | 168 | 169 | 161 | 133 | 137 | 146 | 163 | 170 | 158
D | 152 | 147 | 157 | 170 | 167 | 161 | 135 | 142 | 150 | 168 | 168 | 157
E | 156 | 146 | 157 | 166 | 169 | 160 | 131 | 140 | 150 | 165 | 172 | 154
F | 155 | 145 | 154 | 167 | 168 | 162 | 131 | 138 | 147 | 164 | 170 | 156
G | 130 | 54 | 149 | 104 | 88 | 162 | 132 | 142 | 144 | 164 | 170 | 77
H | 98 | 143 | 115 | 170 | 171 | 154 | 135 | 121 | 151 | 113 | 169 | 156
End Time: | 3/18/2026 4:59:13 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 4:59:20 PM
Temperature: 24.4 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 20 | 21 | 24 | 27 | 25 | 23 | 21 | 22 | 24 | 25 | 26 | 24
B | 21 | 24 | 25 | 28 | 27 | 23 | 21 | 21 | 24 | 27 | 27 | 24
C | 23 | 24 | 26 | 27 | 27 | 23 | 21 | 22 | 24 | 26 | 27 | 23
D | 33 | 23 | 25 | 28 | 27 | 23 | 21 | 24 | 22 | 29 | 27 | 23
E | 24 | 22 | 24 | 27 | 28 | 24 | 23 | 23 | 23 | 29 | 28 | 23
F | 25 | 25 | 25 | 26 | 27 | 24 | 21 | 21 | 23 | 26 | 26 | 23
G | 21 | 10 | 25 | 17 | 16 | 23 | 20 | 24 | 21 | 27 | 27 | 14
H | 16 | 21 | 17 | 26 | 27 | 24 | 21 | 20 | 24 | 20 | 29 | 23
End Time: | 3/18/2026 5:00:37 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 5:00:44 PM
Temperature: 24.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 6 | 6 | 6 | 7 | 6 | 5 | 6 | 5 | 6 | 7 | 7 | 6
B | 5 | 6 | 5 | 6 | 7 | 5 | 5 | 5 | 7 | 6 | 6 | 5
C | 4 | 6 | 6 | 6 | 7 | 6 | 5 | 6 | 6 | 6 | 7 | 5
D | 8 | 5 | 6 | 6 | 6 | 6 | 5 | 5 | 6 | 6 | 6 | 6
E | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 6 | 5
F | 6 | 6 | 6 | 7 | 6 | 6 | 5 | 5 | 6 | 6 | 6 | 7
G | 4 | 2 | 5 | 5 | 3 | 6 | 5 | 5 | 5 | 7 | 6 | 3
H | 5 | 6 | 5 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 6
End Time: | 3/18/2026 5:02:01 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)

## Plate1
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 1903001623 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2026-03-18
Time: | 4:47:20 PM
System |  |  |  | A912-TECAN-PC
User |  |  |  | A912-TECAN-PC\user
Plate |  |  |  | Greiner 96 Flat Bottom Transparent Polystyrene Cat. No.: 655101/655161/655192 [GRE96ft.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Absorbance
Measurement Wavelength |  |  |  | 600 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 25
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 4:47:20 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.8408 | 0.5131 | 0.3521 | 0.2357 | 0.2117 | 0.215 | 0.5627 | 0.3878 | 0.2468 | 0.236 | 0.2065 | 0.2139
B | 0.8319 | 0.5132 | 0.3599 | 0.248 | 0.2062 | 0.2119 | 0.5281 | 0.3832 | 0.2483 | 0.2357 | 0.2056 | 0.2032
C | 0.7611 | 0.5079 | 0.3273 | 0.255 | 0.2086 | 0.1994 | 0.527 | 0.4002 | 0.2949 | 0.2487 | 0.2126 | 0.21
D | 0.7455 | 0.4978 | 0.351 | 0.2641 | 0.2073 | 0.1955 | 0.5107 | 0.3707 | 0.2763 | 0.266 | 0.2105 | 0.2073
E | 0.7373 | 0.5288 | 0.3763 | 0.2847 | 0.2413 | 0.2171 | 0.497 | 0.4177 | 0.3514 | 0.2811 | 0.2316 | 0.2074
F | 0.7368 | 0.5867 | 0.3965 | 0.3032 | 0.271 | 0.2605 | 0.5942 | 0.4488 | 0.3242 | 0.295 | 0.2517 | 0.2059
G | 0.7672 | 0.5661 | 0.3992 | 0.3091 | 0.2867 | 0.2916 | 0.6125 | 0.4506 | 0.3348 | 0.307 | 0.2377 | 0.2211
H | 0.785 | 0.5662 | 0.3637 | 0.2605 | 0.2414 | 0.2292 | 0.5373 | 0.4014 | 0.2684 | 0.247 | 0.2188 | 0.2116
End Time: | 3/18/2026 4:48:38 PM
Label: Label2
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 4:48:41 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 613 | 686 | 741 | 782 | 741 | 726 | 694 | 725 | 767 | 789 | 732 | 726
B | 640 | 704 | 766 | 809 | 768 | 747 | 680 | 733 | 790 | 791 | 746 | 736
C | 664 | 690 | 776 | 818 | 772 | 758 | 705 | 752 | 756 | 783 | 764 | 746
D | 670 | 723 | 772 | 819 | 775 | 790 | 697 | 765 | 785 | 828 | 777 | 756
E | 675 | 727 | 764 | 834 | 766 | 769 | 724 | 750 | 683 | 814 | 781 | 764
F | 681 | 713 | 769 | 826 | 771 | 779 | 718 | 756 | 792 | 823 | 768 | 767
G | 680 | 722 | 762 | 834 | 775 | 780 | 704 | 753 | 815 | 803 | 777 | 761
H | 687 | 725 | 751 | 832 | 791 | 771 | 728 | 768 | 794 | 823 | 771 | 758
End Time: | 3/18/2026 4:49:59 PM
Label: Label3
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 475 | nm
Emission Wavelength |  |  |  | 510 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 4:50:06 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 126 | 142 | 152 | 162 | 152 | 147 | 143 | 148 | 161 | 162 | 152 | 150
B | 131 | 144 | 157 | 168 | 154 | 153 | 140 | 151 | 160 | 162 | 152 | 150
C | 133 | 138 | 160 | 167 | 157 | 160 | 144 | 152 | 156 | 162 | 156 | 154
D | 135 | 149 | 157 | 171 | 160 | 158 | 146 | 155 | 160 | 166 | 157 | 157
E | 137 | 150 | 157 | 168 | 158 | 157 | 148 | 153 | 139 | 165 | 162 | 157
F | 140 | 148 | 157 | 167 | 157 | 160 | 147 | 154 | 165 | 170 | 157 | 155
G | 139 | 147 | 155 | 171 | 161 | 157 | 147 | 154 | 165 | 166 | 160 | 156
H | 139 | 147 | 155 | 171 | 159 | 162 | 148 | 155 | 166 | 169 | 156 | 157
End Time: | 3/18/2026 4:51:23 PM
Label: Label4
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 100 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 4:51:30 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 18 | 22 | 26 | 26 | 20 | 23 | 22 | 25 | 27 | 27 | 22 | 24
B | 19 | 23 | 21 | 26 | 23 | 23 | 22 | 24 | 25 | 27 | 23 | 24
C | 20 | 23 | 26 | 26 | 23 | 23 | 23 | 25 | 25 | 32 | 22 | 24
D | 20 | 21 | 25 | 26 | 24 | 23 | 23 | 25 | 27 | 27 | 24 | 22
E | 20 | 23 | 25 | 27 | 22 | 23 | 24 | 23 | 23 | 26 | 22 | 23
F | 21 | 24 | 23 | 26 | 22 | 24 | 23 | 24 | 25 | 28 | 23 | 22
G | 21 | 24 | 23 | 27 | 23 | 29 | 23 | 24 | 27 | 30 | 24 | 23
H | 19 | 24 | 25 | 27 | 24 | 24 | 23 | 25 | 27 | 26 | 26 | 24
End Time: | 3/18/2026 4:52:47 PM
Label: Label5
Mode |  |  |  | Fluorescence Bottom Reading
Excitation Wavelength |  |  |  | 558 | nm
Emission Wavelength |  |  |  | 630 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 80 | Manual
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Start Time: | 3/18/2026 4:52:54 PM
Temperature: 24.3 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 4 | 5 | 6 | 6 | 5 | 5 | 5 | 5 | 7 | 7 | 6 | 7
B | 4 | 5 | 6 | 5 | 5 | 6 | 5 | 5 | 6 | 7 | 5 | 5
C | 5 | 5 | 6 | 7 | 5 | 6 | 6 | 5 | 6 | 7 | 6 | 5
D | 5 | 4 | 6 | 6 | 5 | 6 | 5 | 5 | 6 | 6 | 5 | 5
E | 5 | 6 | 6 | 7 | 5 | 5 | 6 | 5 | 5 | 6 | 6 | 6
F | 5 | 6 | 6 | 7 | 5 | 6 | 6 | 6 | 6 | 7 | 6 | 6
G | 4 | 5 | 5 | 7 | 4 | 5 | 5 | 5 | 6 | 7 | 5 | 6
H | 5 | 6 | 6 | 6 | 6 | 6 | 5 | 6 | 5 | 6 | 5 | 6
End Time: | 3/18/2026 4:54:11 PM
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)